| PHYSICS DIVISION ENERGIZED ELECTRICAL TEST & MEASUREMENT AUTHORIZATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Extended Duration |  |  | One-time Use Only |  |  |
| Building: | Room/Area: |  |  |  |  |  |  |  |  |  |  | Authorization # |  |  |
| Job Supervisor: |  |  |  |  |  |  | Date Start: |  |  |  |  | Expiration Date: |  |  |
| Description of work to be done: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of Circuit/Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Justification for why equipment cannot be de-energized: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Results of Shock Hazard Analysis (NFPA-70E 2004 130.2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Voltage: |  |  | Glove Voltage Rating: |  |  |  |  | (Inspect gloves before use, check certification date) |  |  |  |  |  |  |
| Limited Approach Boundary: (ft.) |  |  |  |  | Restricted Approach Boundary: (ft.) |  |  |  |  |  | Prohibited Approach Boundary: (ft.) |  |  |  |
| Results of Arc Flash Hazard Analysis (NFPA-70E 2004 130.3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk Category: |  |  |  |  |  | Flash Protection Boundary: (ft.) |  |  |  |  |  |  |  |  |
| All Natural Fiber Outerwear |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Retardant Clothing |  |  |  | Cal/cm2 |  | ATPV Rating: |  |  |  |  |  |  |  |  |
| Required Additional PPE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety Checklist (Verify that proper controls are in place): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Workers must be trained (ESH 114, 375), qualified, and have full knowledge of equipment. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety watch is required. This person must be trained (CPR, ESH 114, 371), qualified, be able to cut off all power sources, and have immediate access to a telephone or radio to call 911 in case of emergency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Insulated tools and equipment required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Remove all jewelry and metal apparel. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Use barricades and warning signs. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Documented job briefing including discussion of any job-specific hazards (e.g., NFPA-70E 2004 Annex I). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| See attachment for added information, special requirements, procedures, or written work plans. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| APPROVALS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazard analysis performed by: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |
| Job Supervisor: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |
| PHY ESH Engineer: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |
| PHY Electrical Safety Committee Representative: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |
| Division Director (extended duration authorization only): |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |
| AUTHORIZED WORKERS that understand and agree to the above: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Printed or typed name(s): |  | Signature(s) |  |  |  |  |  |  |  |  |  |  |  | Date(s) |